## Sheet1
MONTHLY OPERATING REPORT (Population =<3,300)
PWS ID: |  | PWS Name: |  |  | Month/Year:
Entry Point: |  |  |  | Required Minimum Cl (mg/l):
Date | Lowest measured free & total chlorine concentration (mg/l) with pump running |  | Duration of low chlorine (hrs) | COMMENTS
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Was the chlorine residual ever less than the required minimum?
If so, were grab samples collected every four hours until the continuous monitoring equipment was returned to service?
(Attach grab sample results to this form)
Operator Certification: I, being the designated operator of the above named system, do hereby certify the above operating report to be a true and accurate recording for the noted reporting month.
| Certified Operator Signature |  |  |  |  | Date
(See Reverse for additional information)
Compliance Monitoring Points to Remember:
Note: If the chlorine monitor fails, but the well is still running, then manual grab samples must be collected every 4 hours, AND the monitor must be repaired or replaced within 14 days. (Monitors are not required for populations less than 3300.)
Note: If the "lowest measured free chlorine concentration (mg/l) with pump running" is less than the Required Minimum, the minimum must be restored within 4 hours.
How to Submit MORs: You must submit the monthly operating report by the 5th of the month following the reporting month to GWR compliance: 601-576-7800 (fax), water.gwr@msdh.ms.gov (email), PO Box 1700 Water Supply Jackson, MS 39215 (mail).